Facility Access Policy

Core Research Facilities — Booking, Use, and Safety

Veyra Institute for Applied Sciences

14 Aldermere Way, Arenfield AR-4400

Document VX-POL-023  |  Revision 6

Effective 1 January 2025

# 1. Purpose and Scope

This policy governs access to, and use of, the five core research facilities operated by the Veyra Institute for Applied Sciences ("the Institute"). It applies to all users: Institute staff and students ("internal users"), as well as researchers and organizations from outside the Institute ("external users").

The five core facilities covered by this policy are:

| Code | Facility Name | Key Instruments | Facility Manager |
| --- | --- | --- | --- |
| AMC | Advanced Microscopy Centre | Cryo-EM (EM-200), Confocal (MIC-7), AFM | Dr. Rosamund Pelletier |
| MER | Meridian HPC Cluster | 2,400 GPU nodes (HPC-MER) | Mr. Jovan Strelka |
| CNF | Cleanroom & Nanofabrication Facility | Class-100 cleanroom bays (CLN-2) | Dr. Yuki Tanemura |
| SAC | Spectroscopy & Analytical Core | NMR-600, MS-Q9, XRD | Dr. Finn Ostergaard |
| VBF | Veyra Biofoundry | Automated synthesis & assay platforms | Dr. Chisom Eze |

# 2. User Categories

Access tiers determine pricing, booking priority, and induction requirements.

| Tier | Definition | Rate Applied |
| --- | --- | --- |
| Tier 1 — Internal | Current Veyra staff, students, Veyra Fellows | Internal (cr) rate |
| Tier 2 — Affiliate | Partner universities with signed Framework Agreement | Internal rate + 15% surcharge |
| Tier 3 — External Academic | Other non-commercial academic institutions | External academic rate |
| Tier 4 — Industry | Commercial organizations, startups | Full commercial rate |

Current rate schedules are published in the Equipment Rate Card (document VX-DOC-003) and are revised annually in October.

# 3. Booking Procedures

## 3.1 Internal Users

Internal users book instrument time through the Veyra Facilities Portal (https://facilities.veyra.example). All internal users must hold a valid active appointment in the HR system. Booking steps:

- Log in with your Institute SSO credentials.

- Select facility and instrument.

- Confirm your induction status (the system will alert if induction is expired or missing).

- Select date/time slot. Minimum booking unit: 2 hours for microscopy/spectroscopy; 1 hour for HPC/biofoundry.

- Specify the project code for charging.

- Submit request. Confirmation is automatic for pre-qualified users; otherwise, the facility manager will respond within one working day.

## 3.2 External Users

External users must complete an Account Application (form VX-FORM-011) before any booking. Applications are processed within 5 working days. Required documents:

- Institutional letter of support (academic users) or company registration (industry users).

- Signed copy of the Institute's External Access Terms and Conditions (VX-TC-002).

- Purchase order or advance payment confirmation (Tier 3 and 4 users).

Once an account is approved, external users receive portal credentials and may book in the same way as internal users. External users may book up to 8 weeks in advance (internal: 12 weeks).

# 4. Induction and Training Requirements

No user may operate any core facility instrument without completing the required induction for that instrument. Inductions are mandatory and non-delegable.

| Facility | Online Module | In-Person Component | Renewal |
| --- | --- | --- | --- |
| AMC | AMC-IND-01 (90 min) | Half-day supervised session | Every 2 years |
| MER (HPC) | MER-IND-01 (60 min) | None (self-service) | Every 3 years |
| CNF | CNF-IND-01 (120 min) + CNF-IND-02 (safety, 60 min) | Full-day supervised session | Annually |
| SAC | SAC-IND-01 (90 min) | Half-day supervised session | Every 2 years |
| VBF | VBF-IND-01 (90 min) | Half-day supervised session | Every 2 years |

Induction booking is separate from instrument booking and should be arranged at least 10 working days before the first intended session. In-person inductions are conducted by the Facility Manager or a designated senior technician.

# 5. Charging and Invoicing

## 5.1 Internal Charging

Internal time is charged monthly to the project code supplied at booking. Project codes must correspond to an active, funded project in the Finance system. Users who book under a project code that has expired or is over budget will be contacted by the Finance team within 3 working days. Repeated booking under invalid codes may result in suspension of portal access.

## 5.2 External Invoicing

External users (Tiers 2–4) are invoiced at the end of each calendar month for actual usage. Cancellations made less than 48 hours before the session incur a 50% cancellation charge. No-shows are charged at the full rate. Disputed charges must be raised in writing to facilities@veyra.example within 14 days of the invoice date.

## 5.3 Discounts and Waivers

The Director of the Institute may authorise usage waivers for collaborative or educational purposes on written request. Such waivers must be documented before the session and cannot be applied retrospectively.

# 6. Health, Safety, and Risk

All users must comply with the Veyra Laboratory Safety Manual (VX-DOC-009) and any facility-specific safety rules posted at the point of use. Key requirements:

- Personal protective equipment (PPE) must be worn as specified. PPE is available at the facility entrance; users must not enter without it.

- Cryogenic liquids (AMC, SAC) may only be handled by inducted users. A buddy system is required during liquid nitrogen handling.

- Cleanroom (CNF): follow gowning protocol at all times. Food, drink, and unsealed chemicals are prohibited inside the cleanroom.

- Biofoundry (VBF): compliance with the Institute's Contained Use Notification (CUN-2024-07) is mandatory for biological materials.

- Incidents and near-misses must be reported to the Facility Manager within 1 hour and logged in the Institute's HSES system within 24 hours.

The Institute reserves the right to suspend a user's access immediately if a safety breach is observed, pending investigation.

# 7. Data Handling

Raw data generated on Institute instruments is stored on the Institute's managed storage infrastructure for a minimum of 5 years from the date of collection, in line with the Research Data Policy (VX-POL-015). Users are responsible for:

- Downloading their data to institutional or approved external storage within 30 days of collection.

- Labelling datasets with the project code, instrument code, and session date.

- Ensuring any data containing personal information complies with the Institute's Data Protection Policy.

The Institute does not guarantee storage beyond the 5-year minimum. After this period, data may be deleted without further notice. External users' data is quarantined from other users and deleted upon contract termination unless a retention agreement is in place.

# 8. Dispute Process

Disputes arising under this policy should be addressed through the following steps in order:

- Informal resolution: the user contacts the Facility Manager in writing within 5 working days.

- Formal complaint: if unresolved within 10 working days, the user may raise a written complaint to the Head of Core Facilities (facilities@veyra.example).

- Appeals panel: if still unresolved within a further 15 working days, an independent review panel convened by the COO (Dr. Anselm Faraday-Cole) will determine the outcome. Panel decisions are final.

The Institute's standard complaints procedure (VX-POL-031) applies to all matters not covered by this policy.

# 9. Review and Contact

This policy is reviewed annually by the Facilities Governance Group (FGG). The next scheduled review date is 1 November 2025. Questions should be directed to:

Core Facilities Administration

facilities@veyra.example  |  +0 (200) 555-0188

Calder Mesa Campus, Building B, Room 104

14 Aldermere Way, Arenfield AR-4400

Document history: Rev. 1 (2016), Rev. 2 (2018), Rev. 3 (2019), Rev. 4 (2021), Rev. 5 (2023), Rev. 6 (2025).